Points:

1) Power transmission from the Cape to the Island may be unreliable and may be subject to long or short term interruptions because:

a) Cape Transmission infrastructure is unreliable due to age and because it is cobbled together

b) Transmission to the island originates from a single transmission point on the Cape

2) It is possible that power is being transmitted below the standard voltage and may be being reduced for the following reasons:

a) Unreliable or inadequate load carrying capacity on the Cape

b) Reduced undersea cable load carrying capacity due to the age of one of the cables and/or injuries to all cable

b) Transmission line structure is a patchwork of non-structured line layouts because it was “built-as-needed”

Current evidence supports the conclusion that NSTAR does not have a written plan for partial or complete failure of the transmission system. It would appear that they operate on the principle of “solve the problem when it occurs” and the solution is to cobble something together on the spur of the moment.

The solution to a current shortfall, caused by a blown transformer on the

Cape, is to attach two generating trailers to the line at the Tisbury dump. This solution provides some additional capacity to a current shortfall.  It is unclear how much generating capacity would be required to alleviate a complete breakdown of power transmission.

==============================================================

Possible Consequences of a complete transmission failure, from a DPW perspective:s

c) Island transmission line infrastructure may not be able to handle standard loads

3) Much of the Island transmission line infrastructure was replaced after Hurricane Bob in 1991.

| Critical Infrastructure Types | Facilities | Facility Name, if applicable | Generator Y/N | Gas/ Diesel/ Propane (G/D/P) | Fuel Storage Capacity (Gallons) | Max Run Time (Hours) | Tested Weekly/ Monthly (W/M) | Approx. Test Run Time (Hrs) | Does generator run entire facility? (Y/N) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Town Government Buildings | Town Hall |  |  |  |  |  |  |  |  |
|  | Town Hall-Annex |  |  |  |  |  |  |  |  |
|  | Police Station |  |  |  |  |  |  |  |  |
|  | Fire Station |  |  |  |  |  |  |  |  |
|  | EMS |  |  |  |  |  |  |  |  |
|  | DPW Buildings | Main |  |  |  |  |  |  |  |
|  | Public Water Supplies |  |  |  |  |  |  |  |  |
|  | Radio Towers |  |  |  |  |  |  |  |  |
|  | Shelters |  |  |  |  |  |  |  |  |
|  | Human Remains Storage |  |  |  |  |  |  |  |  |
|  | Wastewater Processing Facilities |  |  |  |  |  |  |  |  |
|  | Wastewater Control Stations |  |  |  |  |  |  |  |  |
|  | COA’s |  |  |  |  |  |  |  |  |
| Federal/State Government Buildings | Post Office Main |  |  |  |  |  |  |  |  |
|  | Post Office – West Chop |  |  |  |  |  |  |  |  |
|  | Road Maint. - State |  |  |  |  |  |  |  |  |
|  | Drawbridge |  |  |  |  |  |  |  |  |
| Other Government Buildings | Airport |  |  |  |  |  |  |  |  |
|  | Jail |  |  |  |  |  |  |  |  |
| Food |  |  |  |  |  |  |  |  |  |
| Retail-Grocery stores |  | Cronigs |  |  |  |  |  |  |  |
|  |  | Stop & Shop |  |  |  |  |  |  |  |
| Wholesale stores |  | Cash & Carry |  |  |  |  |  |  |  |
| Warehouse Facilities |  | IFP |  |  |  |  |  |  |  |
| Convenience stores |  | Cumberland Farms |  |  |  |  |  |  |  |
| # Fuel |  |  |  |  |  |  |  |  |  |
| Gasoline/Diesel | Sales | Tisbury Shell |  |  |  |  |  |  |  |
|  | Sales | Mobile Mart |  |  |  |  |  |  |  |
| Gasoline/Diesel | Storage Facilities | Packer Fuel |  |  |  |  |  |  |  |
| Heating Oil – | Sales & Storage | Packer Fuel |  |  |  |  |  |  |  |
| Propane | Sales/Storage | Island propane |  |  |  |  |  |  |  |
| Public Transportation |  |  |  |  |  |  |  |  |  |
| Ferries – Terminals, docks & Staging areas | SSA |  |  |  |  |  |  |  |  |
| Ground Transportation – Facilities |  |  |  |  |  |  |  |  |  |
| # Utilities |  |  |  |  |  |  |  |  |  |
| Electric | Comm Centers | NSTAR |  |  |  |  |  |  |  |
|  | Transmission Facilities |  |  |  |  |  |  |  |  |
|  | Transmission Lines to Critical Facilities |  |  |  |  |  |  |  |  |
|  | Generating Facilities |  |  |  |  |  |  |  |  |
| # Utilities -Phone | Comm Center |  |  |  |  |  |  |  |  |
|  | Transmission Facilities |  |  |  |  |  |  |  |  |
|  | Transmission Lines to Critical Facilities |  |  |  |  |  |  |  |  |
|  | Cell Towers | ATT |  |  |  |  |  |  |  |
|  |  | Verizon |  |  |  |  |  |  |  |
|  |  | Sprint/NEXTEL |  |  |  |  |  |  |  |
| Cable TV - | Transmission Facilities | Plum TV |  |  |  |  |  |  |  |
| Cable TV - | Production Facilities | Plum TV |  |  |  |  |  |  |  |
| # Internet Providers | Provider | Comcast |  |  |  |  |  |  |  |
|  | Provider | Vineyard.net |  |  |  |  |  |  |  |
| # Radio Stations | Provider | WMVY |  |  |  |  |  |  |  |
|  | Provider | Other station |  |  |  |  |  |  |  |
| # Hospital |  |  |  |  |  |  |  |  |  |
| # Banks | Bank | MV Savings |  |  |  |  |  |  |  |
|  | ATM |  |  |  |  |  |  |  |  |
|  | Bank | Sovereign |  |  |  |  |  |  |  |
|  | ATM |  |  |  |  |  |  |  |  |
| # Drugstores | Leslies |  |  |  |  |  |  |  |  |
|  | Medicine Shoppe |  |  |  |  |  |  |  |  |
| # Doctors’ Offices |  |  |  |  |  |  |  |  |  |
| Special Needs Facilities | Wood Side Village |  |  |  |  |  |  |  |  |
| # Package Stores |  |  |  |  |  |  |  |  |  |
| # Churches | St Augustine |  |  |  |  |  |  |  |  |
|  | 1st Baptist |  |  |  |  |  |  |  |  |
|  | Hebrew Synagogue |  |  |  |  |  |  |  |  |
|  | Unitarian Church |  |  |  |  |  |  |  |  |
|  | Methodist @ American Legion Bethel |  |  |  |  |  |  |  |  |

: