Cummins Diesel Generator

Parts dealer and Service

Jerry @ 781.751.1250

Cummins NE

100 Allied Dr

Dedham, Ma

Emerg # 781.329.1750

Engine was an L6, now an A

Size

71” wide + 24”

156” log +24” each end

120” ht

1985 McGraw Edison Onan 30.0 Gen Set

Model 30.0 DL 6-3R/25267D

Serial # A850746195

Hertz 60 rpm 1800

Single Phase KW 30  KVA 30

120/240   10

125

LR-3927

Onan Corporation

Minneapolis, Minn

99-1034

Manuals

Ordered 16 June 09

ORDER # 391194