DUKES COUNTY

Radiation Monitoring Device Inventory

| Device Name | Model # | Serial # | Location |
| --- | --- | --- | --- |
| (2) CDV-700 / RAD meters, | Model No. 68 / | ser # 32223 ser # 128688 | EM Equipment Room-Cellar, DC Admin Bldg |
| (1) CDV-715 RAD meter | Model No. 1A | ser. # 249803 | EM Equipment Room-Cellar, DC Admin Bldg |
| (6) CD V-742/ | dosimeters | ser # E 0012563, E 0002030, A 0043138, E 0557055, C 0634793, E 0466263 | EM Equipment Room-Cellar, DC Admin Bldg |